## Slide 1: Monolithic, Biocompatible, Feedthrough for Hermetically Sealed Electronics and Methods of Manufacture
Neuralink, US 2021/0013051, 1/14/2021
3/25/2024

## Slide 2: Outline
Goal: Describe methods to manufacture a biocompatible, hermetic feedthrough monolithically integrated with a biocompatible ribbon cable + resulting devices
Embodiments:
  Human Head with BMI Implants
  Implants with & without cover
  Exploded view of implant
  Perspective bottom view of the ribbon cable
  Elevation cross-section view schematic
  Manufacturing process of glass hermetic feedthrough and integrated flex/ribbon cable

## Slide 3: Human head with BMI implants

## Slide 4: Implants with & without cover

## Slide 5: Exploded View of Implant

## Slide 6: Perspective bottom view of ribbon cable

## Slide 7: Elevation cross-section view schematic

## Slide 8: Procedure in flowchart

## Slide 9: Step 1

## Slide 10: Step 2

## Slide 11: Step 3 + 4

## Slide 12: Step 5

## Slide 13: Step 6

## Slide 14: Step 7

## Slide 15: Step 8 + 9

## Slide 16: Step 10

## Slide 17: Step 11

## Slide 18: Step 12